## Slide 1: Lower Snake River Compensation Plan Infrastructure Audits

## Slide 2: Mitigation Goal
11,900 Chinook adults (Spring and Summer runs)
14,000 Steelhead adults

## Slide 3: Facility Location
Located on the North Fork of the Clearwater, 1.5 miles below the Dworshak Dam
Residences
Total Flow Settling Basin
Mud Valve Settling Basin
Chinook Bank
Steelhead Bank
Vat Room
Incubations
C-Side
D-Side
Adult Holding

## Slide 4: Dworshak Reservoir Pipeline
About 80-89 cfs from a gravity line from Dworshak Reservoir
Primary Intake
  Adjustable snorkel to target desired water temperatures
Secondary Intake
  Stationary intake 245 feet below the top of Dworshak Dam

## Slide 5: Chinook Broodstock Collection
Red River and Crooked River Satellite Traps (Spring Run)
Powell Satellite Trap (Summer)
Dworshak National, Kooskia National and NPT Cherry Lane

## Slide 6: Steelhead Broodstock Collection
Angler-based broodstock collection
Dworshak - North Fork Clearwater trap

## Slide 7: Incubation
Primary Incubation
  49 Double-stacked Heath incubators
  18 stacks can be heated
Isolation Incubation
  15 Double-stacked Heath incubators
  No heated stacks

## Slide 8: Vat Room
60 Vats (40’x4’x3’)
Max DI < 0.35
Max FI < 1.32 at Marking Event

## Slide 9: Steelhead Bank
24 300’ raceways
DI < 0.35
FI < 2.5 @ release

## Slide 10: Chinook Bank
21 100’ raceways
DI < 0.32
FI 1.2 < @ release

## Slide 11: Adult Holding Ponds
2 Large Ponds (7000 ft³)
2 Medium Ponds (6000 ft³)
DI < 0.32
FI < 1.2 @ release

## Slide 12: Chinook Release
Spring Chinook
  Red River: 1,280,000
  Lower Selway: 400,000
  Clear Creek: 720,000
  North Fork Clearwater: 709,000
Summer Chinook
  Powell: 640,000

## Slide 13: Steelhead Release
Red House: 219,000
Meadow Creek: 501,000
Newsome Creek: 123,000

## Slide 14: NPDES
No compliance issues

## Slide 15: Chinook Marking

## Slide 16: Steelhead Marking

## Slide 17: Summary of Operational/Infrastructure Changes for Program Efficiency
Expand Incubation and Early Rearing
Replace the existing Clearwater pipeline
Add boxes under intake in the Vats to reduce water velocity
New piping in the Vat room