## Brasher (gpm)
San Bernardino NWR
Pond Water Budget Analysis
Calculations
Hackberry Ponds
Preferred
Brasher Pond | Inflow | Precipitation | Infiltration | Evaporation | Overflow
gpm
Preferred Inflow | 20 | 0.24434 | 8 | 11.237 | 1.0073
January | 20 | 0.016851 | 8 | 0.352 | 11.6649
February | 20 | 0.013217 | 8 | 0.58854 | 11.4247
March | 20 | 0.011234 | 8 | 1.0194 | 10.9918
April | 20 | 0.0042954 | 8 | 1.2141 | 10.7902
May | 20 | 0.0036346 | 8 | 1.441 | 10.5626
June | 20 | 0.012721 | 8 | 1.5508 | 10.4619
July | 20 | 0.052371 | 8 | 1.3131 | 10.7393
August | 20 | 0.050389 | 8 | 1.1501 | 10.9003
September | 20 | 0.021312 | 8 | 0.94376 | 11.0776
October | 20 | 0.020486 | 8 | 0.80397 | 11.2165
November | 20 | 0.01586 | 8 | 0.50829 | 11.5076
December | 20 | 0.021973 | 8 | 0.352 | 11.67
Total | - | 0.24434
Average | 20 | 0.020362 | 8 | 0.93642 | 11.0839

## Brasher (Gallons)
San Bernardino NWR
Pond Water Budget Analysis
Calculations
Hackberry Ponds
Preferred
Brasher Pond | Inflow | Precipitation | Infiltration | Evaporation | Overflow
| Gallons | Gallons | Gallons | Gallons | Gallons | gpm
January | 892800 | 752.2452 | 357120 | 15713.2593 | 520718.9859 | 11.6649
February | 813600 | 537.6579 | 325440 | 23941.9384 | 464755.7194 | 11.4247
March | 892800 | 501.4968 | 357120 | 45505.599 | 490675.8978 | 10.9918
April | 864000 | 185.5633 | 345600 | 52448.977 | 466136.5864 | 10.7902
May | 892800 | 162.249 | 357120 | 64325.5942 | 471516.6548 | 10.5626
June | 864000 | 549.553 | 345600 | 66994.9656 | 451954.5874 | 10.4619
July | 892800 | 2337.8601 | 357120 | 58614.9468 | 479402.9133 | 10.7393
August | 892800 | 2249.3607 | 357120 | 51341.9525 | 486587.4082 | 10.9003
September | 864000 | 920.6796 | 345600 | 40770.4771 | 478550.2025 | 11.0776
October | 892800 | 914.4942 | 357120 | 35889.0843 | 500705.4099 | 11.2165
November | 864000 | 685.1569 | 345600 | 21958.0127 | 497127.1442 | 11.5076
December | 892800 | 980.8688 | 357120 | 15713.2593 | 520947.6094 | 11.67
Total | 10519200 | 10777.1854 | 4207680 | 493218.0664 | 5829079.1191
Average |  |  |  |  | 485756.5933 | 11.0839

## Inflow
Preferred
Brasher Pond | Inflow
Monthly
| gpm | Gallons
Preferred Inflow | 20
January | 20 | 892800
February | 20 | 813600
March | 20 | 892800
April | 20 | 864000
May | 20 | 892800
June | 20 | 864000
July | 20 | 892800
August | 20 | 892800
September | 20 | 864000
October | 20 | 892800
November | 20 | 864000
December | 20 | 892800
Total | - | 10519200
Average | 20

## Precipitation
Brasher
Pond
| PRISM | 0.32
| 1981-2010 | acres
Normals
| 800 m | 13939.2
ft2
| Monthly |  | Monthly
| Precipitation | Precipitation | Precipitation
| (inches) | (gpm) | Gallons
January | 1.02 | 0.016851 | 752.2452
February | 0.8 | 0.013217 | 537.6579
March | 0.68 | 0.011234 | 501.4968
April | 0.26 | 0.0042954 | 185.5633
May | 0.22 | 0.0036346 | 162.249
June | 0.77 | 0.012721 | 549.553
July | 3.17 | 0.052371 | 2337.8601
August | 3.05 | 0.050389 | 2249.3607
September | 1.29 | 0.021312 | 920.6796
October | 1.24 | 0.020486 | 914.4942
November | 0.96 | 0.01586 | 685.1569
December | 1.33 | 0.021973 | 980.8688
Total | 14.79 | 0.24434 | 10777.1854
Average |  | 0.020362

## Infiltration
Brasher Pond | Infiltration
Monthly
| gpm | Gallons
Infiltration | 8
January | 8 | 357120
February | 8 | 325440
March | 8 | 357120
April | 8 | 345600
May | 8 | 357120
June | 8 | 345600
July | 8 | 357120
August | 8 | 357120
September | 8 | 345600
October | 8 | 357120
November | 8 | 345600
December | 8 | 357120
Total | - | 4207680
Average | 8

## Evaporation
| Analogous |  |  |  | Brasher
| Location |  |  |  | Pond
| WRCC | Mult by 0.7 |  |  | 0.32
| 1925-2005 | Winter |  |  | acres |  | Brasher
| Jornada | Mult by 0.6 | For 2 Acre | For 2 Acre |  |  | Pond
| Experimental | Summer | Pond | Pond | 13939.2
| Range |  | Convert | Convert | ft2
| Monthly | Reference | to | to |  | Monthly
| Class A Pan | Lake/Pond | Class A Pan | Lake/Pond | Lake/Pond | Lake/Pond
| Evaporation | Evaporation | Evaporation | Evaporation | Evaporation | Evaporation
| (inches) | (inches) | (gpm) | (gpm) | (gpm) | Gallons
January | 2.5 | 1.75 | 3.1429 | 2.2 | 0.352 | 15713.2593 | 0.50286
February | 4.18 | 2.926 | 5.2549 | 3.6784 | 0.58854 | 23941.9384 | 0.84078
March | 7.24 | 5.068 | 9.1017 | 6.3712 | 1.0194 | 45505.599 | 1.4563
April | 10.06 | 6.036 | 12.6468 | 7.5881 | 1.2141 | 52448.977 | 2.0235
May | 11.94 | 7.164 | 15.0103 | 9.0062 | 1.441 | 64325.5942 | 2.4016
June | 12.85 | 7.71 | 16.1543 | 9.6926 | 1.5508 | 66994.9656 | 2.5847
July | 10.88 | 6.528 | 13.6777 | 8.2066 | 1.3131 | 58614.9468 | 2.1884
August | 9.53 | 5.718 | 11.9806 | 7.1883 | 1.1501 | 51341.9525 | 1.9169
September | 7.82 | 4.692 | 9.8308 | 5.8985 | 0.94376 | 40770.4771 | 1.5729
October | 5.71 | 3.997 | 7.1783 | 5.0248 | 0.80397 | 35889.0843 | 1.1485
November | 3.61 | 2.527 | 4.5383 | 3.1768 | 0.50829 | 21958.0127 | 0.72612
December | 2.5 | 1.75 | 3.1429 | 2.2 | 0.352 | 15713.2593 | 0.50286
Total | 88.82 | 55.866 | 111.6593 | 70.2315 | 11.237 | 493218.0664 | 1.4888
Average
Average |  |  |  |  | 0.93642